Acronyms for balanced cables

In ISO/IEC 11801:2002, the following designation can be found in Annex E. Since this Annex is informative, it means that manufacturers do not have to follow it for compliance. 

xx/xxx 
| | |_ balanced element __ TP 
| |__ element screen ____ U = unscreened 
| |__F = foil screened 
| 
|__ overall screen _____ F = foil screened 
|__ S = braid screen 
|__ SF = braid and foil screen 



 


 


 



 





Note: Sometimes the letter P in the abbreviation is replaced by Q to characterize a quad construction. 

U/UTP Quad 



U/FTP Quad 



S/FTP Quad